## Design
Reliability and Resiliency
Reliability Performance Monitoring (Prerequisite)
Campuses
| Project has committed to include the infrastructure and / or processes that record interruptions at building-level for all the buildings and loads at different voltage levels (low voltage, medium voltage, high voltage) in their design report as per the IEEE Standard 1782 – 2014 | [8 empty] | Select
All projects
| Project has committed to use standard database structure for recording and monitoring the Interruptions in design report as specified in the Reference Guide. | [8 empty] | Select
Describe the infrastructure and / or processes that is planned as per the design report to continuously monitor and record interruptions for the complete project distribution network at high, medium and low voltage levels. Share the details of meter specification/ infrastructure to be installed with a description (OR) Provide a Letter of Commitment on the infrastructure or processes planned.
Reliability Performance Assessment ( Campuses - Up to 6 points)
Campuses only
| Project has committed to calculate the reliability indices (SAIFI,SAIDI) with MED (major event days) as described in the IEEE 1366 and report the same on annual basis from the projects' date of completion. | [8 empty] | Select
[5 empty] | Committed / Estimated | Actual
|  | SAIFI (Annual average value) |  |  |  |  | (With MED)
|  | SAIDI (Annual average value) |  |  |  |  | (With MED)
Describe in detail about your commitment or estimation of reliability indices for sustained interruption of the project that will contribute to earning the credit in 3-5 sentences. Project must commit or estimate the SAIDI and SAIFI details and share the calculation / estimation details.
Momentary Interruption Tracking (Campuses-Up to 1 point)
Reporting of momentary interruption
All Projects
| Project has committed to calculate the annual momentary average interruption frequency index (MAIFI) as described in the IEEE 1366 and report the same on annual basis from the projects' date of completion. | [8 empty] | Select
[5 empty] | Committed / Estimated | Actual
MAIFI (Annual average value)
Monitoring capability for momentary interruptions.
All Projects
| Project has committed to establish the infrastructure capability to record the operation of all interrupting devices in the distribution network in their design report and to calculate MAIFI | [8 empty] | Yes
Describe in detail about your commitment or estimation of reliability indices for momentary interruption of the project that will contribute to earning the credit in 3-5 sentences. Project must commit or estimate the MAIFI details and share the calculation / estimation details
Damage and Exposure Prevention (Campuses- Up to 6 points)
All Projects
Option 1: External damage prevention
Project has committed to include preventive measures in their design report to avoid infrastructure damage or service interruption from the below mentioned external threats.
|  | Tree Contact |  |  |  | Select
|  | Animal or bird contact |  |  |  | Select
|  | Vehicular or human interference |  |  |  | Select
|  | Fire or hazardous area |  |  |  | Select
|  | Weather effects |  |  |  | Select
AND/OR
Option 2: Power system hardening
Project has committed to include the following design strategies in their design report to harden power systems against flooding, storms, and other external events.
Flood Avoidance- Project has committed to include any one of the below strategies in their design report to prevent damage to electrical equipment and assets based on the 100 year flood mark or flood map.
|  | Strategy 1: Included permanent storm water drainage system to protect the critical power assets. | [7 empty] | Select
|  | Strategy 2: Included a standalone pump for pumping the water from the low lying electrical equipment areas with uninterrupted power supply | [7 empty] | Select
|  | Strategy 3: Critical power assets locations and mounting heights are considered as per the American Society of Civil Engineers Chapter 7,24 or equivalent standard. | [7 empty] | Select
|  | Storm Protection -All outdoor equipment designed / selected to withstand three-second wind gusts up to 140 mph or equivalent. | [7 empty] | Select
|  | Seismic protection -All critical electrical equipment are seismic restraint certified or the structural support is designed to be seismic restraint. | [7 empty] | Select
AND/OR
Option 3: Undergrounding
| Project has committed to bury the electric cables in conduits or underground tunnels. | [8 empty] | Select
Percentage of electric cables planned for undergrounding
Describe the strategies included in the project that will contribute to earning the credit in 3-5 sentences. Provide undergrounding cable plan details, design report on power system hardening design considerations taken, and design or measures taken for tree trimming, animal & fire protection and design strategies or measures to prevent threat due to human interference & weather. (Also include the preliminary SLD for undergrounding)
Distribution Redundancy and Auto Restoration (Campuses-Up to 2 points)
All Projects
| Project has committed to incorporate the distribution redundancy and automated power restoration to the circuits while preparing the preliminary distribution diagram (or SLD). | [8 empty] | Select
| (% DRe) | Percentage of circuits or customers that have distribution redundancy
| (ANS) | Average number of switches with distribution redundancy per circuit or customer
| (% AR) | Percentage of circuits or customers that have automated restoration
| (ANAS) | Average number of switches with automated restoration per circuit or customer
| Total Percentage of circuits protected (% Protected ) | [7 empty] | 0%
Describe the strategies included in the project that will contribute to earning the credit in 3-5 sentences. Provide the single line drawing (SLD) with auto reclosures and circuit breakers highlighted for meeting this credit requirements.
Alternate Source of Supply (Campuses-Up to 5 points)
All Projects
Option 1: Alternative Supply
Project has committed to include any one of the following in the design report as alternative power supply sources
|  | Alternative (or secondary) feeder from bulk grid | [5 empty] | Select
|  | Generation outside the project boundary(at neighborhood level) | [5 empty] | Select
|  | Project-owned or project-operated backup power system | [5 empty] | Select
Total project load that is protected by backup power supply (%)
AND/OR
Option 2: Transfer Controls
Project has committed to include the following transfer control capabilities in their design report in order to transfer between the grid connected mode to partial islanding mode and vice versa.
|  |  | Automatic and Quick transfer |  |  |  | Select
|  |  | Seamless transfer |  |  |  | Select
|  |  | Ride-Through |  |  |  | Select
Describe the strategies included in the project that will contribute to earning the credit in 3-5 sentences. Provide design details on alternate supply options identified along with the transfer capabilities options for the project.
Power Surety and Resiliency (Campuses- Up to 5 points)
Campuses
| Project identified critical loads and essential services that require power supply during widespread outages or disaster and determined the minimum daily runtime in their design report. | [8 empty] | Select
In addition to identifying the critical loads and feeders and calculating the minimum daily runtime, the project has committed to include the following capabilities in the design report ( Must be sequential)
|  | Step 1 : Planned to equip all the project loads with short-term backup power options for enabling safe shutdown. | [7 empty] | Select
|  | Step 2 : Planned to supply power to all critical loads for minimum daily runtime or longer.(achieve step 1) | [7 empty] | Select
|  | Step 3 : Planned to provide the long-term backup power for the essential services for a minimum daily runtime for one week or longer.(achieve step 2) | [7 empty] | Select
|  | Step 4 : Installing the backup power through a renewable energy system for the critical and essential loads.(achieve step 3) | [7 empty] | Select
Describe the strategies or infrastructure included in the project that will contribute to earning the credit in 3-5 sentences. 1.Provide the list of critical loads and essential services which need backup power supply. 2.Provide the list and a narrative of infrastructure for providing the short-term backup power for enabling safe shutdown. 3.Provide the narrative on the type of backup power supply (Diesel Generator / Battery) used with typical running hours planned to support the critical and essential loads. 4.Provide the details or calculations for determining the minimum daily runtime and the relevant fuel storage calculations (If applicable) for supporting the critical and essential loads.
Power Quality Capabilities (Campuses - Up to 5 points)
All Projects
Option 1 Power Quality Assessment
|  | Project has committed to perform power quality assessment on regular basis for identifying the power quality issues | [7 empty] | Select
AND/OR
Option 2- Continuous power quality monitoring
All Projects
| Project has committed to install infrastructure to continuously monitor and record the power quality at different location with minimum of three power quality event as stated below. | [8 empty] | Select
|  | Voltage sag and swell | [7 empty] | Select
|  | Voltage unbalance | [7 empty] | Select
|  | Voltage harmonics | [7 empty] | Select
|  | Current harmonics | [7 empty] | Select
|  | Under voltage and overvoltage | [7 empty] | Select
Campuses
| Project has committed to install power quality monitoring at all points of city or utility connections. | [8 empty] | Select
AND/OR
Option 3 Power Quality improvement
All Projects
| Project has committed to implement the power quality mitigation strategies as per the power quality assessment outcomes or recommendations. | [8 empty] | Select
Describe the infrastructure strategies included in the project that will contribute to earning the credit in 3-5 sentences. 1.Provide details of the infrastructure capabilities for monitoring the power quality. 2.Provide a plan for performing the power quality assessment on a regular basis. 3.Provide details on the mitigation strategies planned for the poor power quality (OR) Commitment letter on plan for regular PQ audit.
Energy Efficiency and Environment
Environmental Performance Disclosure (Prerequisite)
Committed / Estimated SEI
Committed / Estimated CO2
Committed / Estimated NOx
Committed / Estimated SO2
Committed / Estimated Water Use
Committed / Estimated Waste Recycled
EE Index Points
Note: For more details about the EE Index refer to PEER EE Index calculator and Reference Guide
The project does not own or operate local / backup generation
The project owns or operates local / backup generation sources must commit the following
|  | Committed to record fuel consumption, water consumption and energy output data for all local and back up generation. | [7 empty] | Select
|  | Committed to verify emission performance of local generation and back up unites through third party testing at least once every three years of operation | [7 empty] | Select
|  | Committed to demonstrate compliance with the regional environmental regulations for the local and backup generation unit including but not limited to emissions, waste material handling and disposal, water and land utilization. | [7 empty] | Select
Environmental Performance Improvement (Campuses- Up to 10 points)
EE Index Score
Note: For more details about the EE Index refer to PEER EE Index calculator and Reference Guide
Describe how the project will measure and quantify the environmental impact of power generation, transmission and distribution activity and improve awareness among consumers and project operators. Provide details of the estimated energy consumption, along with supplying utility and energy mix that includes onsite & offsite (Please refer to the PEER EE index calculator and reference guide). Provide projections detailing the measures to achieve the EE index value.
System Energy Efficiency Coefficient Disclosure (Prerequisite)
Committed / Estimated SEEC percentage Improvement
|  |  | Note: For details refer to PEER SEEC calculator and Reference Guide | [7 empty] | U | C&T
[11 empty] | 0 | 0
System Energy Efficiency Coefficient improvement (Campuses - up to 3 points)
|  |  | Committed / Estimated SEEC Improvement Points | [6 empty] | 0
Note: For details refer to PEER SEEC calculator and Reference Guide
Describe how the project will incorporate a public disclosure policy that includes the results of the SEEC evaluation in annual performance and/or sustainability reports. If the project owns or plans to operate local generation sources (including Rooftop Solar PV, CHP), estimate (OR) provide commitment letter, on the energy system conversion performance of electricity generation, cooling and heating unit(s) based on the design specification of the systems.
Renewable Energy and Carbon Offsets (Campuses - Up to 4 points)
All projects
Total percentage of the energy addressed with green power, REC, and carbon offsets Estimated or committed by project)
Note: For more details refer to PEER Reference Guide
Describe the strategies included in the project that will contribute to earning the credit in 3-5 sentences. Project must include Green PPAs, RECs, and carbon offsets planned based on the energy mix of project. Project should submit the Request for Proposals (RFPs) or signed PPA copies.
Distributed Energy Resources ( Campuses - Up to 5 points)
Option 1 : Local renewables and clean generation
Campuses
Total Percentage project load served by local renewables and clean generation planned by project.
AND/OR
Option 2 : Local energy storage
Campuses
Project has committed or estimated to install the any of the following local energy storage for supporting energy requirements
[5 empty] | Mechanical Storage |  |  |  |  | Select
[5 empty] | Thermal Storage |  |  |  |  | Select
[5 empty] | Chemical energy storage |  |  |  |  | Select
AND/OR
Option 4 : District Energy System
Campuses
Total Percentage project load served by District energy system planned by project.
Describe the strategies included in the project that will contribute to earning the credit in 3-5 sentences. Project must provide details on the estimate to have local renewable and clean energy generation to the energy mix , local energy storage capacity and district energy system planned.
Environmental Impact Assessment, Disclosure & Management ( Campus - Up to 5 points)
Campuses
| Project has committed for preparing processes for tracking and recording the trees cut and wildlife disturbed. | [8 empty] | Select
| Project has committed for implementing a policies and programs for reducing or preventing harm to local environment and wildlife. | [8 empty] | Select
| Project has committed to implement processes to track and measure noise levels emitted by generation assets substations and switch yards using IEC 60651 Type 1, IEC 61672 Class 1, ANSI S1.4-Type 1 sound level meter or equivalent | [8 empty] | Select
Describe the strategies included in the project that will contribute to earning the credit in 3-5 sentences. Project must incorporate (OR) Provide letter of commitment to have, tree trimming and animal protection policies and design compliance for noise reduction arising from energy related infrastructure as specified in reference guide.
Operations, Management and Safety
Triple Bottom Line Analysis (Prerequisite)
The project commit to perform an assessment to quantify benefits accrued by improving project’s performance and identify financially viable investment opportunities. The assessment with align with the following guidelines at the minimum:
Identify systems that have contributed towards improving performance as defined under PEER or as determined by the project owner or operator. Consider minimum number of 3 systems including but not limited to the following –
|  |  | On-site generation and storage systems | [6 empty] | Select
|  |  | Fault location, isolation and service restoration systems | [6 empty] | Select
|  |  | Power quality improvement systems | [6 empty] | Select
|  |  | Monitoring and control systems | [6 empty] | Select
|  |  | Asset maintenance systems | [6 empty] | Select
|  |  | Energy metering systems | [6 empty] | Select
Identify all the relevant capabilities enabled by each system. Further, define expected or measured performance of the project under following scenarios:
|  |  | Baseline: Predicted performance of the project in absence of the systems | [6 empty] | Select
|  |  | Current: Current performance of the project with present utilization of capabilities | [6 empty] | Select
|  |  | Upper Limit: Future performance of the project with utilization of all unused and associated capabilities | [6 empty] | Select
For all the scenarios, project performance must be modelled with the implemented systems as a function of project and system characteristics, operational parameters and external factors. Following impact categories should be included as part of the analysis.
|  |  | Economic impact | [6 empty] | Select
|  |  | Environmental impact | [6 empty] | Select
|  |  | Social impact | [6 empty] | Select
| Determine incremental value achieved by the project in Current scenario as compared to the Baseline scenario. | [8 empty] | Select
| Estimate benefits (Opportunity cost) associated with achievement of Upper Limit scenario as compared to Current scenario. | [8 empty] | Select
Describe how the project has or will quantify triple bottom line benefits associated with achieved levels of performance and to assess opportunities for future improvements. Provide details on the measures taken to establish (OR) Commit to perform, a TBL analysis and to provide details of systems for performance improvement across different scenarios and impacts in line with the requirements in reference guide
Risk Assessment & Mitigation (Campuses- Up to 4 points)
| The project commit to conduct a comprehensive risk assessment for critical assets within the project boundary, using the risk matrix approach as described in Reference guide. | [8 empty] | Select
Committed / estimated number of risk events considered for risk assessment
Committed / estimated number of criteria's considered for risk assessment
|  | Commit to develop mitigation strategies for all the identified and prioritized risks | [7 empty] | Select
Note: For details refer to PEER Reference Guide
Describe the strategies included in the project that will contribute to earning the credit in 3-5 sentences. Provide details on the steps taken to (OR) Provide a letter of Commitment to, perform a comprehensive risk assessment as described in the reference guide. Develop the risk matrix with two dimensions, 5 classes for all the subsystems with at least 4 risk events identified across minimum 2 criteria's. Also provide strategies for prioritizing the risks and taking mitigation measures.
Emergency Response Planning (Campuses-Up to 3 points)
| The project commit to prepare an emergency response plan specifically for the project addressing the short term and extended power interruptions. | [8 empty] | Select
Committed / estimated number of strategies included in emergency response plan.
Note: For details refer to PEER Reference Guide
Describe the strategies included in the project that will contribute to earning the credit in 3-5 sentences. Provide measures taken to establish (OR) Provide a letter of commitment to have, at least 3 strategies on Emergency response planning
Safety Review Process (Campuses-Up to 2 points)
| Project commit to comply with safety code requirements for any design changes or operational changes as described by authority having jurisdiction or NESC C2-2012. | [8 empty] | Select
Committed / estimated number of strategies included in safety review process.
Note: For details refer to PEER Reference Guide
Describe the strategies included in the project that will contribute to earning the credit in 3-5 sentences. Project must meet the requirements (OR) Provide a letter of commitment to comply with NESC C2-2012 or the local safety code and design requirements and meet at least 2 strategies as described in the reference guide.
Operational Processes (Campuses-Up to 4 points)
Option 1: Waste identification and reduction
Project commit to adopt the following programs for critical project assets
|  |  | Preventive maintenance program for identifying and tracking preventive maintenance procedures for critical assets | [6 empty] | Select
|  |  | Condition monitoring program for identifying and tracking preventive maintenance procedures for critical assets | [6 empty] | Select
|  |  | Life cycle cost approach for selecting the equipment. | [6 empty] | Select
AND/OR
Option 2 : Failure identification and reduction
Project commit to implement a formal process for identifying and reducing the process failures that includes the following features
|  |  | Failure tracking and trending | [6 empty] | Select
|  |  | Failure cause analysis | [6 empty] | Select
|  |  | Tracking of corrective actions for all failures | [6 empty] | Select
Note: For details refer to PEER Reference Guide
Describe the strategies included in the project that will contribute to earning the credit in 3-5 sentences. Project must provide details on the measures taken to establish the (OR) Provide letter of commitment to have, programs on failure identification and financial waste identification.
Advanced Metering Infrastructure (Campuses-Up to 3 points)
Campuses
Project commit to install advanced meters permanently for loads/buildings load greater than 100 kVA with the following capabilities and features.
|  |  | Recording and transmitting the data at intervals of one hour or less | [6 empty] | Select
|  |  | Record both consumption and demand | [6 empty] | Select
|  |  | Detect power interruption and provide active notification | [6 empty] | Select
|  |  | Store data for at least 36 months | [6 empty] | Select
|  |  | Bidirectional communication | [6 empty] | Select
|  |  | Compatible with net metering | [6 empty] | Select
|  |  | Measures at least two other power quality events | [6 empty] | Select
Describe the strategies included in the project that will contribute to earning the credit in 3-5 sentences. For Campuses - Provide details on the technical specifications of the system to have all individual buildings of 100 kVA and above with advanced meter installed and having prescribed metering capabilities.
Master Controller (Campuses-Up to 3 points)
| The project commit to install a master controller or control system that automatically interfaces with local systems. | [8 empty] | Select
Committed / estimated number of capabilities integrated in the master controller.
Note: For details refer to PEER Reference Guide
Describe the strategies included in the project that will contribute to earning the credit in 3-5 sentences. Project must provide details on the measures taken for implementation of master controller along with the technical specification of the system and advanced capabilities as described in the reference guide.
Communication Network and Information Processing (Campuses-Up to 2 points)
| Project commit to install communications infrastructure connected to all major assets. | [8 empty] | Select
Project commit to install data acquisition and control system with the following capabilities and features.
|  |  | Monitoring and recording of project load data | [6 empty] | Select
|  |  | Monitoring and recording of equipment fault data | [6 empty] | Select
|  |  | Display of information for project operators and notification of faults | [6 empty] | Select
|  |  | Monitoring and recording the heating and cooling data for district energy or central plant | [6 empty] | Select
|  |  | Monitoring and recording the local generation output. | [6 empty] | Select
|  |  | Monitoring and recording the switch and fault status. | [6 empty] | Select
Describe the strategies included in the project that will contribute to earning the credit in 3-5 sentences. Project must provide details on the measures taken for the implementation along with the technical specifications to install a communication network or SCADA system that has the functionalities as described in the reference guide.
Energy Management System (Campuses - Up to 2 points)
Campuses
| Project commit to install building automation system (BAS)or Energy Management system(EMS) capable of interfacing with project's communication network and master controller. | [8 empty] | Select
Committed / estimated percentage of building with BAS or EMS
Note: For details refer to PEER Reference Guide
Describe the strategies included in the project that will contribute to earning the credit in 3-5 sentences. Project must provide the measures taken to implement along with the technical specifications to install or provide technical specifications, of an EMS or BAS system that has the capabilities as described in the reference guide.
Grid Services
Customer and Load Survey (Prerequisite)
Campuses
Case 1: Campuses and building projects with multiple tenants / users
|  | The project has or will conduct a customer survey on an annual basis for a representative sample or entire population of customers served by the project | [7 empty] | Select
|  | The project has or will have in place a program to assess qualitative and quantitative characteristics of individual customer or load demand across operational and design parameters | [7 empty] | Select
|  | The project has or will incorporate programs to improve customer service quality and overall energy performance of the project and incorporate this as part of future improvement plans. | [7 empty] | Select
Case 2: Campuses and building projects with a single tenant / user
|  | The project has or will conduct a survey of project loads with qualitative and quantitative characteristics across operational and design parameters | [7 empty] | Select
|  | The project has or will identify interdependencies between multiple loads and / or processes in terms of operational schedules, input and output parameters | [7 empty] | Select
|  | The project has or will incorporate programs to improve project infrastructure and processes to optimize the energy performance and incorporate this as part of future improvement plans. | [7 empty] | Select
Describe how the project has or will assess consumer concerns and interests regarding service quality and overall project performance. Project has to provide details on the measures taken to implement (OR) Provide letter of commitment to implement, the consumer survey and load survey guidelines and templates as stated in reference guide.
Load Duration Curve Optimization (Campuses - Up to 4 points)
All Projects
Committed / Estimated Load duration curve optimization (%)
Note: For details refer to PEER Reference Guide
Describe the strategies included in the project that will contribute to earning the credit in 3-5 sentences. Project has to estimate and provide details on the calculation (OR) provide letter of commitment to calculate and establish, the load duration % of peak.
Data Privacy and Cybersecurity ( Campuses - 1 point)
All projects
Option 1 : Cybersecurity
| Project commit to prepare cyber security policies and programs for addressing the cybersecurity threats. | [8 empty] | Select
Describe the strategies included in the project that will contribute to earning the credit in 3-5 sentences. Project has to provide details on the measures taken to establish (OR) Provide a letter of commitment to have, the cyber security policies.
Access to Energy Usage Data (Campuses-Up to 4 points)
All projects
Option 1 : Effective data-sharing practices
| Project commit to design or subscribe to an online platform which gives users secure access to individual energy usage data that can be downloaded. | [8 empty] | Select
AND/OR
Option 2 : Energy usage feedback quality
| Project commit to improve energy conservation behavior of customers by providing the near real-time data for micro-level applications. | [8 empty] | Select
Describe the strategies included in the project that will contribute to earning the credit in 3-5 sentences. Project has to provide details on the measures taken to establish an effective data sharing practices and energy usage feedback quality with consumers (OR) Provide a letter of commitment with details on the measures taken and technologies in place for implementing it.
Supply Choice ( Campuses - Upto 2 points)
All Projects
| Project commit to offer supply choice program to at least 50 % of tenants or customers or all customer classes. | [8 empty] | Select
Campuses
Option 1 : Supply choice available
| Project commit to participate in a supply choice program by comparing the state or regional average. | [8 empty] | Select
OR
Option 2 : Supply choice not available
| Project commit to have discussion with grid operators for opting supply choice in future. | [8 empty] | Select
Describe the strategies included in the project that will contribute to earning the credit in 3-5 sentences. Project must establish a program (OR) provide a letter of commitment, to offer supply choice by providing more than one power supplier option to at least 50% of tenants. Additionally, Campuses can commit to opt-in for supply choice.
Demand Side Management (Campuses - Up to 3 points )
Option 1 : Energy conservation program
Campuses
| Project commit to develop a comprehensive program for implementing energy efficiency improvement measures based on the end-use applications. | [8 empty] | Select
AND/OR
Option 2 : Load Management
Campuses
Project commit to install metering infrastructure that can support dynamic pricing (as stated below) offered by city or utility.
|  | Real-time pricing scheme | [7 empty] | Select
|  | Time of use pricing with two or more time blocks. | [7 empty] | Select
Project commit to implement load management programs for reducing peak demand on permanent basis using the following strategies.
|  | Energy storage systems | [7 empty] | Select
|  | Shifting of processes or loads from peak period to off peak period | [7 empty] | Select
Describe the strategies included in the project that will contribute to earning the credit in 3-5 sentences. Project has to provide details on the measures taken to establish, energy conservation measures and Load management measures - i.e. 1. by participation ToU tariff, and 2. reduce peak demand through strategies.
Demand Response (Campuses - Up to 2 points)
Campuses
Case 1: Demand response program available
Project commit to participate in an existing DR program by following the below sequential steps
| Step 1 | Install the infrastructure capable of fully automated DR / Semi automated DR based on the external initiation | [7 empty] | Select
| Step 2 | Minimum one year DR commitment and intention of multiyear renewal for at least 10% of the annual peak demand (achieve step 1) | [7 empty] | Select
| Step 3 | Develop a comprehensive plan to curtail the loads during the demand response event (achieve step 1 and step 2) | [7 empty] | Select
| Step 4 | Include the DR processes in current facilities requirement and Operations and maintenance plan and plan to initiate one full test of DR Plan (achieve steps 1-3) | [7 empty] | Select
OR
Case 2 : Demand response program not available
Project commit to install infrastructure to take advantage of future DR program or dynamic ,real time pricing program and including the following programs and plans
| Step 1 | Develop a comprehensive plan to curtail the loads for at least 10% of the peak demand. | [7 empty] | Select
| Step 2 | Include the DR processes in current facilities requirement and Operations and maintenance plan (achieve step 1) | [7 empty] | Select
| Step 3 | Plan to conduct one full test of DR Plan (achieve step 1 and step 2) | [7 empty] | Select
| Step 4 | Discuss participation in future DR programs with local city or utility | [7 empty] | Select
Describe the strategies included in the project that will contribute to earning the credit in 3-5 sentences. For Campuses take measures (OR) Provide Letter of Commitment, to participate in DR program with technical capabilities available or planned
Other Tools and Financial Incentives ( Campuses - 1 point)
Campuses
| Project commit to offer tenants an energy clause, green lease, or other contractual language addressing energy addressing energy-efficient build-outs, payment structures for energy efficiency upgrades, cost recovery or pass through for energy related capital costs, and/or utility data sharing. | [8 empty] | Select
Describe the strategies included in the project that will contribute to earning the credit in 3-5 sentences. For Campuses provide details on measures taken (OR) Provide letter of Commitment, to incorporate an energy clause, green lease, or other contractual language addressing energy-efficient build-outs.
Aggregation (Campuses- 1 point)
Campuses
| Project commit to participate in meter aggregation with at least one other building or aggregate at least two buildings. | [8 empty] | Select
Describe the strategies included in the project that will contribute to earning the credit in 3-5 sentences. For Campuses provide details on the measures taken to participate in aggregation program, along with the infrastructure available or being planned.
Advanced External Interface (Campuses - Up to 2 points )
Campuses
Option 1: Information exchange system
| Project commit to install and use a remote signal or information exchange that allows the master controller to automatically receive signals from city or utility, ISO, regional transmission operator. | [8 empty] | Select
OR
Option 2 : Open ADR Compliance
Project commit to install and use a remote signal or information exchange compliant to Open ADR (as stated below) that allows the master controller to automatically receive signals from city or utility, ISO, regional transmission operator.
|  |  | Open ADR Profile A | [6 empty] | Select
|  |  | Open ADR Profile B or Profile C | [6 empty] | Select
Describe the strategies included in the project that will contribute to earning the credit in 3-5 sentences. Provide details on the measures taken (OR) Provide letter of Commitment, to have information exchange system with basic and advanced functionalities or commit to have the information exchange system complied with Open ADR.
Innovation Credits
Innovation (Up to 6 points - For all Project types)
Option 1: Innovation (2 Points)
| Achieve significant, measurable energy and environmental performance using a strategy not addressed in the PEER rating system. ● Intent of the proposed innovation credit ● Proposed requirements for compliance ● Proposed submittals to demonstrate compliance ● Design approach or strategies used to meet the requirements. | [8 empty] | Select
AND/OR
Option 2 : Exemplary Performance (3 Points)
Achieve exemplary performance—typically, achieving double the credit requirements (1 point) or the next incremental percentage threshold (1 point per threshold, up to a maximum of 3).
|  |  | RR Credit: Damage and Exposure Prevention | [6 empty] | Select
|  |  | EE Credit: System Energy Efficiency Coefficient Improvement | [6 empty] | Select
|  |  | OP Credit: Risk Assessment and Mitigation | [6 empty] | Select
|  |  | GS Credit: Load Duration Curve Optimization | [6 empty] | Select
AND/OR
Option 3 : PEER Education (1 Point)
| At least one member of the project team or a project consultant must participate in a PEER workshop given by GBCI and/or complete a certification program or course in smart grid technology accredited by an international organization | [8 empty] | Select
Note : Projects cannot double-count points under both Regional Priority and Innovation for the same credit
Describe how the project has achieved exceptional or innovative performance. Project must submit the technical documentation (Design Basis Report) or (Technical specification) of the innovation strategies and also list down the credits attempted through exemplary performance and submit the Certification program / workshop details.
Regional Priority
Regional Priority (Up to 4 points - For all Project types)
Select up to four of the six Regional Priority credits (as listed below for India and United States of America).
Regional Priority Credits for India
One point is awarded for each Regional Priority credit achieved, up to a maximum of four.
|  |  | RR Credit: Reliability Performance Assessment. | [6 empty] | Select
|  |  | RR Credit: Power Quality Capabilities. | [6 empty] | Select
|  |  | EE Credit: Environmental Performance Improvement. | [6 empty] | Select
|  |  | EE Credit: Green Power and Carbon Offset | [6 empty] | Select
|  |  | EE Credit: Distributed Energy Resource. | [6 empty] | Select
|  |  | OP Credit: Advanced Metering Infrastructure. | [6 empty] | Select
OR
Regional Priority Credits for United States
One point is awarded for each Regional Priority credit achieved, up to a maximum of four.
|  |  | RR Credit: Reliability Performance Assessment. | [6 empty] | Select
|  |  | RR Credit: Distribution Redundancy and Auto Restoration. | [6 empty] | Select
|  |  | EE Credit: Environmental Performance Improvement | [6 empty] | Select
|  |  | OP Credit: Risk Assessment and Mitigation | [6 empty] | Select
|  |  | OP Credit: Emergency Response Planning. | [6 empty] | Select
|  |  | GS Credit: Demand Response | [6 empty] | Select
Note : Projects cannot double-count points under both Regional Priority and Innovation for the same credit
Describe how the project has achieved Regional Priority. Provide a narrative on the list of credits attempted for Regional Priority based on your credit achievements.
PEER V2
Copyright ©2020
Green Business Certification Inc.
All rights reserved.

## Uploads
List of Uploads (For GBCI Certification Team Reference)
Sr. No. | Reference | Attached | Notes
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
Note on C4: List references. Include file names for attachments.

## General Info
PEER v2
Precertification Worksheet - DESIGN PHASE
Instructions
Complete the general information page and each design section tab to complete information on prerequisites and credits. Items highlighted in green color, are the documentation requirements for the project. Projects can also provide their own set of documentation when the requested information is not available, with a justification written on the description box. See the PEER v2 Reference Guide for details and definitions.
Project ID and name
| Project type | Campus
Project Location
| Current project phase | Select
| Date of completion of construction | Select | Select
| New construction or improvement? | Select
| Estimated budget (Optional) | 0
| Contract Demand (MVA/kVA) |  | Select
Contract demand is the demand (load in terms of kVA/MVA) based on the customer requirement with power supplier as per the supply agreement.
| Connected Load (MW/kW) |  | Select
Connected Load is total load connected to the distribution system (load in terms of kW/MW).
| Estimated annual consumption (MWh/kWh) |  | Select
Estimated consumption value for an year (consumption in kWh/MWh)
Upload: Provide the single line diagram of the Electrical Infrastructure.
Describe the project in general: For Campuses - Provide details of consumer type as commercial / industrial / mixed and then power drawing utility / power plants & energy infrastructures planned onsite and offsite (Diesel Genset, Solar PV etc.).

## Data (hidden)
|  |  | EE Index Score | Points
Select |  | Select | 30 | 1
New Construction |  | Design development & Conceptual design | 31 | 1
Major Renovation |  | Under construction | 32 | 1
Combination |  | Existing | 33 | 1
|  |  | 34 | 1
|  |  | 35 | 1
Select | Select | Select | 36 | 1
January | 2019 | Campus | 37 | 1
February | 2020 | Cities and Utilities | 38 | 1
March | 2021 | Transit | 39 | 1
April | 2022 |  | 40 | 2
May | 2023 | Select | 41 | 2
June | 2024 | MVA | 42 | 2
July | 2025 | kVA | 43 | 2
August | 2026 |  | 44 | 2
September | 2027 | Select | 45 | 2
October | 2028 | MW | 46 | 2
November | 2029 | kW | 47 | 2
December | 2030 |  | 48 | 2
| 2031 | Select | 49 | 2
| 2032 | MWh | 50 | 3
| 2033 | kWh | 51 | 3
| 2034 |  | 52 | 3
| 2035 | Select | 53 | 3
| 2036 | Yes | 54 | 3
| 2037 | No | 55 | 3
|  |  | 56 | 3
|  | Select | 57 | 3
|  | N/A | 58 | 3
|  | Yes | 59 | 3
|  | No | 60 | 4
|  |  | 61 | 4
|  |  | 62 | 4
|  |  | 63 | 4
|  |  | 64 | 4
|  |  | 65 | 4
|  |  | 66 | 4
|  |  | 67 | 4
|  |  | 68 | 4
|  |  | 69 | 4
|  |  | 70 | 5
|  |  | 71 | 5
|  |  | 72 | 5
|  |  | 73 | 5
|  |  | 74 | 5
|  |  | 75 | 5
|  |  | 76 | 5
|  |  | 77 | 5
|  |  | 78 | 5
|  |  | 79 | 5
|  |  | 80 | 5
|  |  | 81 | 5
|  |  | 82 | 5
|  |  | 83 | 5
|  |  | 84 | 5
|  |  | 85 | 5
|  |  | 86 | 5
|  |  | 87 | 5
|  |  | 88 | 5
|  |  | 89 | 5
|  |  | 90 | 5
|  |  | 91 | 5
|  |  | 92 | 5
|  |  | 93 | 5
|  |  | 94 | 5
|  |  | 95 | 5
|  |  | 96 | 5
|  |  | 97 | 5
|  |  | 98 | 5
|  |  | 99 | 5
|  |  | 100 | 5