## General Info
PEER v2
Precertification Worksheet - DESIGN PHASE
Instructions
Complete the general information page and each design section tab to complete information on prerequisites and credits. Items highlighted in green color, are the documentation requirements for the project. Projects can also provide their own set of documentation when the requested information is not available, with a justification written on the description box. See the PEER v2 Reference Guide for details and definitions.
Project ID and name
| Project type | Cities and Utilities
Project Location
| Current project phase | Select
| Date of completion of construction | Select | Select
| New construction or improvement? | Select
| Estimated budget (Optional) | 0
| Contract Demand (MVA/kVA) |  | Select
Contract demand is the demand (load in terms of kVA/MVA) based on the customer requirement with power supplier as per the supply agreement.
| Connected Load (MW/kW) |  | Select
Connected Load is total load connected to the distribution system (load in terms of KW/MW).
| Estimated annual consumption (MWh/kWh) |  | Select
Estimated consumption value for an year (consumption in kWh/MWh)
Upload: Provide the single line diagram of the Electrical Infrastructure.
Describe the project in general: For Cities and Utilities - Provide details of substations, power plants supplying power, Number of buildings / customers,customer type as commercial / industrial / mixed, and energy mix.

## Design
Reliability and Resiliency
Reliability Performance Monitoring (Prerequisite)
Cities and Utilities
| Project has committed to include the infrastructure and / or processes that record interruptions in the distribution network at different voltage levels (low voltage, medium voltage, high voltage) in their design report as per the IEEE Standard 1782 – 2014. | [8 empty] | Select
All projects
| Project has committed to use standard database structure for recording and monitoring the Interruptions in design report as specified in the Reference Guide. | [8 empty] | Select
Describe the infrastructure and / or processes that is planned as per the design report to continuously monitor and record interruptions for the complete project distribution network at high, medium and low voltage levels. Share the details of meter specification/ infrastructure to be installed with a description (OR) Provide a Letter of Commitment on the infrastructure or processes planned.
Reliability Performance Assessment (Cities and Utilities - Up to 6 points)
Cities and Utilities only
| Project has committed to calculate the reliability indices (SAIFI,SAIDI) with and without MED (major event days) as described in the IEEE 1366 and report the same on annual basis from the projects' date of completion. | [8 empty] | Select
[5 empty] | Committed / Estimated | Actual
|  | SAIFI (Annual average value) |  |  |  |  | (Without MED)
|  | SAIDI (Annual average value) |  |  |  |  | (Without MED)
Describe in detail about your commitment or estimation of reliability indices for sustained interruption of the project that will contribute to earning the credit in 3-5 sentences. Project must commit or estimate the SAIDI and SAIFI details and share the calculation / estimation details.
Momentary Interruption Tracking (Cities and Utilities - 1 point)
Reporting of momentary interruption
All Projects
| Project has committed to calculate the annual momentary average interruption frequency index (MAIFI) as described in the IEEE 1366 and report the same on annual basis from the projects' date of completion. | [8 empty] | Select
[5 empty] | Committed / Estimated | Actual
MAIFI (Annual average value)
Monitoring capability for momentary interruptions.
All Projects
| Project has committed to establish the infrastructure capability to record the operation of all interrupting devices in the distribution network in their design report and to calculate MAIFI | [8 empty] | Yes
Describe in detail about your commitment or estimation of reliability indices for momentary interruption of the project that will contribute to earning the credit in 3-5 sentences. Project must commit or estimate the MAIFI details and share the calculation / estimation details
Damage and Exposure Prevention (Cities and Utilities - Up to 6 points)
All Projects
Option 1: External damage prevention
Project has committed to include preventive measures in their design report to avoid infrastructure damage or service interruption from the below mentioned external threats.
|  | Tree Contact |  |  |  | Select
|  | Animal or bird contact |  |  |  | Select
|  | Vehicular or human interference |  |  |  | Select
|  | Fire or hazardous area |  |  |  | Select
|  | Weather effects |  |  |  | Select
AND/OR
Option 2: Power system hardening
Project has committed to include the following design strategies in their design report to harden power systems against flooding, storms, and other external events.
Flood Avoidance- Project has committed to include any one of the below strategies in their design report to prevent damage to electrical equipment and assets based on the 100 year flood mark or flood map.
|  | Strategy 1: Included permanent storm water drainage system to protect the critical power assets. | [7 empty] | Select
|  | Strategy 2: Included a standalone pump for pumping the water from the low lying electrical equipment areas with uninterrupted power supply | [7 empty] | Select
|  | Strategy 3: Critical power assets locations and mounting heights are considered as per the American Society of Civil Engineers Chapter 7,24 or equivalent standard. | [7 empty] | Select
|  | Storm Protection -All outdoor equipment designed / selected to withstand three-second wind gusts up to 140 mph or equivalent. | [7 empty] | Select
|  | Seismic protection -All critical electrical equipment are seismic restraint certified or the structural support is designed to be seismic restraint. | [7 empty] | Select
AND/OR
Option 3: Undergrounding
| Project has committed to bury the electric cables in conduits or underground tunnels. | [8 empty] | Select
Percentage of electric cables planned for undergrounding
Describe the strategies included in the project that will contribute to earning the credit in 3-5 sentences. Provide undergrounding cable plan details, design report on power system hardening design considerations taken, and design or measures taken for tree trimming, animal & fire protection and design strategies or measures to prevent threat due to human interference & weather. (Also include the preliminary SLD for undergrounding)
Distribution Redundancy and Auto Restoration (Cities and Utilities - Up to 2 points)
All Projects
| Project has committed to incorporate the distribution redundancy and automated power restoration to the circuits while preparing the preliminary distribution diagram (or SLD). | [8 empty] | Select
| (% DRe) | Percentage of circuits or customers that have distribution redundancy
| (ANS) | Average number of switches with distribution redundancy per circuit or customer
| (% AR) | Percentage of circuits or customers that have automated restoration
| (ANAS) | Average number of switches with automated restoration per circuit or customer
| Total Percentage of circuits protected (% Protected ) | [7 empty] | 0%
Describe the strategies included in the project that will contribute to earning the credit in 3-5 sentences. Provide the single line drawing (SLD) with auto reclosures and circuit breakers highlighted for meeting this credit requirements.
Alternate Source of Supply (Cities and Utilities - Up to 5 points)
All Projects
Option 1: Alternative Supply
Project has committed to include any one of the following in the design report as alternative power supply sources
|  | Alternative (or secondary) feeder from bulk grid | [5 empty] | Select
|  | Generation outside the project boundary(at neighborhood level) | [5 empty] | Select
|  | Project-owned or project-operated backup power system | [5 empty] | Select
Total project load that is protected by backup power supply (%)
AND/OR
Option 2: Transfer Controls
Project has committed to include the following transfer control capabilities in their design report in order to transfer between the grid connected mode to partial islanding mode and vice versa.
|  |  | Automatic and Quick transfer |  |  |  | Select
|  |  | Seamless transfer |  |  |  | Select
|  |  | Ride-Through |  |  |  | Select
Describe the strategies included in the project that will contribute to earning the credit in 3-5 sentences. Provide design details on alternate supply options identified along with the transfer capabilities options for the project.
Power Surety and Resiliency (Cities and Utilities - Up to 5 points)
Cities and Utilities
| Project has committed to identify critical facilities, customers and feeders that require power supply during widespread outages or disaster. | [8 empty] | Select
In addition to identifying the critical loads and feeders, the project has committed to include the following capabilities in the design report ( Must be sequential)
|  | Step 1 : Included the OMS(Outage management system) which is integrated with GIS and SCADA for identifying interruptions across all critical facilities, and loads or feeders. | [7 empty] | Select
|  | Step 2 : Planned to include the Priority restoration for identified critical and essential loads.(achieve step 1) | [7 empty] | Select
|  | Step 3 : Planned to provide backup power for the critical and essential loads.(achieve step 2) | [7 empty] | Select
|  | Step 4 : Planned to provide the backup power through a renewable energy system for the critical and essential loads.(achieve step 3) | [7 empty] | Select
Describe the strategies or infrastructure included in the project that will contribute to earning the credit in 3-5 sentences. 1. Provide the list of critical facilities, customers, and feeders which need priority restoration and backup power supply. 2.Provide the narrative of OMS and its capabilities for identifying the interruptions. 3.Provide the narrative of type of backup power supply used to support the critical and essential loads. 4. Provide details on Priority restoration for identified critical and essential services in blackouts or brownouts, also the details on back up power availability for them
Power Quality Capabilities (Cities and Utilities - Up to 5 points)
All Projects
Option 1 Power Quality Assessment
|  | Project has committed to perform power quality assessment on regular basis for identifying the power quality issues | [7 empty] | Select
AND/OR
Option 2- Continuous power quality monitoring
All Projects
| Project has committed to install infrastructure to continuously monitor and record the power quality at different location with minimum of three power quality event as stated below. | [8 empty] | Select
|  | Voltage sag and swell | [7 empty] | Select
|  | Voltage unbalance | [7 empty] | Select
|  | Voltage harmonics | [7 empty] | Select
|  | Current harmonics | [7 empty] | Select
|  | Under voltage and overvoltage | [7 empty] | Select
Cities and Utilities
| Project has committed to install power quality monitoring at the substation level | [8 empty] | Select
Number of substations with permanent power quality monitoring capability
Number of substations within the project boundary
Average number of event types being monitored
|  | PQ Measurement Score | [7 empty] | -
AND/OR
Option 3 Power Quality improvement
All Projects
| Project has committed to implement the power quality mitigation strategies as per the power quality assessment outcomes or recommendations. | [8 empty] | Select
Describe the infrastructure strategies included in the project that will contribute to earning the credit in 3-5 sentences. 1.Provide details of the infrastructure capabilities for monitoring the power quality. 2.Provide a plan for performing the power quality assessment on a regular basis. 3.Provide details on the mitigation strategies planned for the poor power quality (OR) Commitment letter on plan for regular PQ audit.
Energy Efficiency and Environment
Environmental Performance Disclosure (Prerequisite)
Committed / Estimated SEI
Committed / Estimated CO2
Committed / Estimated NOx
Committed / Estimated SO2
Committed / Estimated Water Use
Committed / Estimated Waste Recycled
EE Index Points
Note: For more details about the EE Index refer to PEER EE Index calculator and Reference Guide
The project does not own or operate local / backup generation
The project owns or operates local / backup generation sources must commit the following
|  | Committed to record fuel consumption, water consumption and energy output data for all local and back up generation. | [7 empty] | Select
|  | Committed to verify emission performance of local generation and back up unites through third party testing at least once every three years of operation | [7 empty] | Select
|  | Committed to demonstrate compliance with the regional environmental regulations for the local and backup generation unit including but not limited to emissions, waste material handling and disposal, water and land utilization. | [7 empty] | Select
Environmental Performance Improvement (Cities and Utilities - Up to 10 points)
EE Index Score
Note: For more details about the EE Index refer to PEER EE Index calculator and Reference Guide
Describe how the project will measure and quantify the environmental impact of power generation, transmission and distribution activity and improve awareness among consumers and project operators. Provide details of the estimated energy consumption, along with supplying utility and energy mix that includes onsite & offsite (Please refer to the PEER EE index calculator and reference guide). Provide projections detailing the measures to achieve the EE index value.
System Energy Efficiency Coefficient Disclosure (Prerequisite)
Committed / Estimated SEEC percentage Improvement
|  |  | Note: For details refer to PEER SEEC calculator and Reference Guide | [7 empty] | U | C&T
[11 empty] | 0 | 0
System Energy Efficiency Coefficient improvement (Cities and Utilities - Up to 3 points)
|  |  | Committed / Estimated SEEC Improvement Points | [6 empty] | 0
Note: For details refer to PEER SEEC calculator and Reference Guide
Describe how the project will incorporate a public disclosure policy that includes the results of the SEEC evaluation in annual performance and/or sustainability reports. If the project owns or plans to operate local generation sources (including Rooftop Solar PV, CHP), estimate (OR) provide commitment letter, on the energy system conversion performance of electricity generation, cooling and heating unit(s) based on the design specification of the systems.
Renewable Energy and Carbon Offsets (Cities and Utilities - Up to 4 points)
All projects
Total percentage of the energy addressed with green power, REC, and carbon offsets Estimated or committed by project)
Note: For more details refer to PEER Reference Guide
Describe the strategies included in the project that will contribute to earning the credit in 3-5 sentences. Project must include Green PPAs, RECs, and carbon offsets planned based on the energy mix of project. Project should submit the Request for Proposals (RFPs) or signed PPA copies.
Distributed Energy Resources (Cities and Utilities - Up to 6 points)
Option 1 : Local renewables and clean generation
Cities and utilities
Total Percentage project load served by local renewables and clean generation planned by project.
AND/OR
Option 2 : Local energy storage
Cities and utilities
Project has committed or estimated to install the any of the following local energy storage for supporting energy requirements
[5 empty] | Mechanical Storage |  |  |  |  | Select
[5 empty] | Thermal Storage |  |  |  |  | Select
[5 empty] | Chemical energy storage |  |  |  |  | Select
AND/OR
Option 3 : Prosumers
Cities and Utilities
| Project has committed to have policy to consider the customers who owns and operates the renewable energy systems and thereby achieve a capacity of 2 MW or greater. | [8 empty] | Select
AND/OR
Option 4 : District Energy System
Cities and Utilities
Total Percentage project load served by District energy system planned by project.
Describe the strategies included in the project that will contribute to earning the credit in 3-5 sentences. Project must provide details on the estimate to have local renewable and clean energy generation to the energy mix, local energy storage capacity and district energy system planned. For Cites and Utilities, additionally consider the RE capacity addition from Prosumers.
Environmental Impact Assessment, Disclosure & Management (Cities and Utilities - Up to 2 points)
Cities and Utilities
| Project has committed for preparing processes for tracking and recording the trees cut and wildlife disturbed. | [8 empty] | Select
| Project has committed implementing a policies and programs for reducing or preventing harm to local environment and wildlife. | [8 empty] | Select
Describe the strategies included in the project that will contribute to earning the credit in 3-5 sentences. Project must incorporate (OR) Provide letter of commitment to have, tree trimming and animal protection policies.
Operations, Management and Safety
Triple Bottom Line Analysis (Prerequisite)
The project commit to perform an assessment to quantify benefits accrued by improving project’s performance and identify financially viable investment opportunities. The assessment with align with the following guidelines at the minimum:
Identify systems that have contributed towards improving performance as defined under PEER or as determined by the project owner or operator. Consider minimum number of 3 systems including but not limited to the following –
|  |  | On-site generation and storage systems | [6 empty] | Select
|  |  | Fault location, isolation and service restoration systems | [6 empty] | Select
|  |  | Power quality improvement systems | [6 empty] | Select
|  |  | Monitoring and control systems | [6 empty] | Select
|  |  | Asset maintenance systems | [6 empty] | Select
|  |  | Energy metering systems | [6 empty] | Select
Identify all the relevant capabilities enabled by each system. Further, define expected or measured performance of the project under following scenarios:
|  |  | Baseline: Predicted performance of the project in absence of the systems | [6 empty] | Select
|  |  | Current: Current performance of the project with present utilization of capabilities | [6 empty] | Select
|  |  | Upper Limit: Future performance of the project with utilization of all unused and associated capabilities | [6 empty] | Select
For all the scenarios, project performance must be modelled with the implemented systems as a function of project and system characteristics, operational parameters and external factors. Following impact categories should be included as part of the analysis.
|  |  | Economic impact | [6 empty] | Select
|  |  | Environmental impact | [6 empty] | Select
|  |  | Social impact | [6 empty] | Select
| Determine incremental value achieved by the project in Current scenario as compared to the Baseline scenario. | [8 empty] | Select
| Estimate benefits (Opportunity cost) associated with achievement of Upper Limit scenario as compared to Current scenario. | [8 empty] | Select
Describe how the project has or will quantify triple bottom line benefits associated with achieved levels of performance and to assess opportunities for future improvements. Provide details on the measures taken to establish (OR) Commit to perform, a TBL analysis and to provide details of systems for performance improvement across different scenarios and impacts in line with the requirements in reference guide
Risk Assessment & Mitigation (Cities and Utilities - Up to 4 points)
| The project commit to conduct a comprehensive risk assessment for critical assets within the project boundary, using the risk matrix approach as described in Reference guide. | [8 empty] | Select
Committed / estimated number of risk events considered for risk assessment
Committed / estimated number of criteria's considered for risk assessment
|  | Commit to develop mitigation strategies for all the identified and prioritized risks | [7 empty] | Select
Note: For details refer to PEER Reference Guide
Describe the strategies included in the project that will contribute to earning the credit in 3-5 sentences. Provide details on the steps taken to (OR) Provide a letter of Commitment to, perform a comprehensive risk assessment as described in the reference guide. Develop the risk matrix with two dimensions, 5 classes for all the subsystems with at least 4 risk events identified across minimum 2 criteria's. Also provide strategies for prioritizing the risks and taking mitigation measures.
Emergency Response Planning (Cities and Utilities -Up to 3 points)
| The project commit to prepare an emergency response plan specifically for the project addressing the short term and extended power interruptions. | [8 empty] | Select
Committed / estimated number of strategies included in emergency response plan.
Note: For details refer to PEER Reference Guide
Describe the strategies included in the project that will contribute to earning the credit in 3-5 sentences. Provide measures taken to establish (OR) Provide a letter of commitment to have, at least 3 strategies on Emergency response planning
Safety Review Process (Cities and Utilities -Up to 2 points)
| Project commit to comply with safety code requirements for any design changes or operational changes as described by authority having jurisdiction or NESC C2-2012. | [8 empty] | Select
Committed / estimated number of strategies included in safety review process.
Note: For details refer to PEER Reference Guide
Describe the strategies included in the project that will contribute to earning the credit in 3-5 sentences. Project must meet the requirements (OR) Provide a letter of commitment to comply with NESC C2-2012 or the local safety code and design requirements and meet at least 2 strategies as described in the reference guide.
Operational Processes (Cities and Utilities -Up to 4 points)
Option 1: Waste identification and reduction
Project commit to adopt the following programs for critical project assets
|  |  | Preventive maintenance program for identifying and tracking preventive maintenance procedures for critical assets | [6 empty] | Select
|  |  | Condition monitoring program for identifying and tracking preventive maintenance procedures for critical assets | [6 empty] | Select
|  |  | Life cycle cost approach for selecting the equipment. | [6 empty] | Select
AND/OR
Option 2 : Failure identification and reduction
Project commit to implement a formal process for identifying and reducing the process failures that includes the following features
|  |  | Failure tracking and trending | [6 empty] | Select
|  |  | Failure cause analysis | [6 empty] | Select
|  |  | Tracking of corrective actions for all failures | [6 empty] | Select
Note: For details refer to PEER Reference Guide
Describe the strategies included in the project that will contribute to earning the credit in 3-5 sentences. Project must provide details on the measures taken to establish the (OR) Provide letter of commitment to have, programs on failure identification and financial waste identification.
Advanced Metering Infrastructure (Cities and Utilities -Up to 3 points)
Cities and Utilities
Option 1: Advanced metering infrastructure
Project commit to install advanced meters permanently for at least 5 % of the customers with the following capabilities and features.
|  |  | Recording and transmitting the data at intervals of one hour or less | [6 empty] | Select
|  |  | Record both consumption and demand | [6 empty] | Select
|  |  | Detect power interruption and provide active notification | [6 empty] | Select
|  |  | Store data for at least 36 months | [6 empty] | Select
|  |  | Bidirectional communication | [6 empty] | Select
|  |  | Compatible with net metering | [6 empty] | Select
|  |  | Measures power factor and two other power quality events | [6 empty] | Select
AND/OR
Option 2 : Selection process for future roll out
Project commit to determine the project future metering needs while considering the following capabilities and parameters.
|  |  | Bidirectional communication | [6 empty] | Select
|  |  | Detect power interruption and provide active notification | [6 empty] | Select
|  |  | Data collection rate | [6 empty] | Select
|  |  | Safety, of both meter and its installation | [6 empty] | Select
|  |  | Meter accuracy and accuracy limits | [6 empty] | Select
|  |  | Wireless versus hard-wired communications | [6 empty] | Select
|  |  | Assess to real time consumption data | [6 empty] | Select
|  |  | Interface usability | [6 empty] | Select
|  |  | Net metering | [6 empty] | Select
|  |  | Local versus centralized interval data storage options | [6 empty] | Select
|  |  | Sampling rate | [6 empty] | Select
Describe the strategies included in the project that will contribute to earning the credit in 3-5 sentences. For Cities and Utilities - Projects must provide details on the measures taken for implementation of AMI for all its stakeholders with above capabilities (AND/OR) Provide letter of commitment to have AMI for at least 5 % of the customers with described capabilities.
Master Controller (Cities and Utilities -Up to 3 points)
| The project commit to install a master controller or control system that automatically interfaces with local systems. | [8 empty] | Select
Committed / estimated number of capabilities integrated in the master controller.
Note: For details refer to PEER Reference Guide
Describe the strategies included in the project that will contribute to earning the credit in 3-5 sentences. Project must provide details on the measures taken for implementation of master controller along with the technical specification of the system and advanced capabilities as described in the reference guide.
Communication Network and Information Processing (Cities and Utilities -Up to 2 points)
| Project commit to install communications infrastructure connected to all major assets. | [8 empty] | Select
Project commit to install data acquisition and control system with the following capabilities and features.
|  |  | Monitoring and recording of project load data | [6 empty] | Select
|  |  | Monitoring and recording of equipment fault data | [6 empty] | Select
|  |  | Display of information for project operators and notification of faults | [6 empty] | Select
|  |  | Monitoring and recording the heating and cooling data for district energy or central plant | [6 empty] | Select
|  |  | Monitoring and recording the local generation output. | [6 empty] | Select
|  |  | Monitoring and recording the switch and fault status. | [6 empty] | Select
Describe the strategies included in the project that will contribute to earning the credit in 3-5 sentences. Project must provide details on the measures taken for the implementation along with the technical specifications to install a communication network or SCADA system that has the functionalities as described in the reference guide.
Grid Services
Customer and Load Survey (Prerequisite)
Cities and Utilities
| The Project has or will have a customer survey conducted at least once in the three years as per the guidelines and methodology stated in the Reference Guide | [8 empty] | Select
| The project has or will have in place a process to document customer feedback regarding existing or newly introduced programs, policies and specific services experienced or used by the customer | [8 empty] | Select
| The project has or will to incorporate programs and policies that focus on improving service quality, customer awareness and utilization of customer potential within the customer engagement plan. | [8 empty] | Select
Describe how the project has or will assess consumer concerns and interests regarding service quality and overall project performance. Project has to provide details on the measures taken to implement (OR) Provide letter of commitment to implement, the consumer survey as stated in reference guide.
Customer Engagement (Cities and Utilities - Up to 3 points)
Cities and Utilities
Option 1 : Communication and outreach
Project commit to identify the customers' preferences by including the following aspects in communication and outreach
|  |  | Frequency of receiving information | [6 empty] | Select
|  |  | Different communication media | [6 empty] | Select
|  |  | Subjects covered by the communication | [6 empty] | Select
|  |  | Presentation of the information | [6 empty] | Select
AND/OR
Option 2 : Planning and Implementation
Project commit to develop comprehensive improvement strategies for at least three planned programs considering the following objectives
|  |  | Improved customer satisfaction | [6 empty] | Select
|  |  | Customer participation | [6 empty] | Select
AND/OR
Option 3 : Customer Satisfaction
| Project commit to calculate the customer satisfaction index for individual programs, processes, and services using the methology specified in the reference guide. | [8 empty] | Select
Describe the strategies included in the project that will contribute to earning the credit in 3-5 sentences. Project must provide details establishing the strategies and methodologies as per the reference guide, also commit to achieve a customer satisfaction score of 3.5 or greater
Load Duration Curve Optimization (Cities and utilities - Up to 3 points )
Committed / Estimated Load duration curve optimization (%)
Note: For details refer to PEER Reference Guide
Describe the strategies included in the project that will contribute to earning the credit in 3-5 sentences. Project has to estimate and provide details on the calculation (OR) provide letter of commitment to calculate and establish, the load duration % of peak.
Data Privacy and Cybersecurity (Cities and Utilities - Up to 2 points )
All projects
Option 1 : Cybersecurity
| Project commit to prepare cyber security policies and programs for addressing the cybersecurity threats. | [8 empty] | Select
AND/OR
Cities and Utilities
Option 2 : Data Privacy
| Project commit to prepare data privacy policies and practices for ensuring the integrity and confidentiality of data and customer choice in sharing data. | [8 empty] | Select
Describe the strategies included in the project that will contribute to earning the credit in 3-5 sentences. Project has to provide details on the measures taken to establish (OR) Provide a letter of commitment to have, the cyber security and data privacy policies.
Access to Energy Usage Data (Cities and Utilities-Up to 4 points)
All projects
Option 1 : Effective data-sharing practices
| Project commit to design or subscribe to an online platform which gives users secure access to individual energy usage data that can be downloaded. | [8 empty] | Select
AND/OR
Option 2 : Energy usage feedback quality
| Project commit to improve energy conservation behavior of customers by providing the near real-time data for micro-level applications. | [8 empty] | Select
Describe the strategies included in the project that will contribute to earning the credit in 3-5 sentences. Project has to provide details on the measures taken to establish an effective data sharing practices and energy usage feedback quality with consumers (OR) Provide a letter of commitment with details on the measures taken and technologies in place for implementing it.
Supply Choice (Cities and Utilities - 1 point)
All Projects
| Project commit to offer supply choice program to at least 50 % of tenants or customers or all customer classes. | [8 empty] | Select
Describe the strategies included in the project that will contribute to earning the credit in 3-5 sentences. Project must establish a program (OR) provide a letter of commitment, to offer supply choice by providing more than one power supplier option to at least 50% of tenants.
Demand Side Management (Cities and Utilities - Up to 3 points)
Option 1 : Energy conservation program
Cities and Utilities
| Project commit to prepare and adopt energy conservation program for at least residential and agricultural customers. | [8 empty] | Select
AND/OR
Option 2 : Load Management
Cities and Utilities
| Project commit to install infrastructure that can provide dynamic pricing (real time or time of use pricing ). | [8 empty] | Select
Describe the strategies included in the project that will contribute to earning the credit in 3-5 sentences. Project has to provide details on the measures taken to establish, energy conservation measures and Load management measures - i.e. 1. by offering ToU tariff and 2. reduce peak demand through strategies.
Demand Response (Cities and Utilities -Up to 2 points)
Cities and Utilities
Project commit to provide tariff options to support short-term reductions in peak demand to all customer categories using the following tariff structures.
|  | Critical peak pricing | [7 empty] | Select
|  | Critical peak rebate | [7 empty] | Select
Describe the strategies included in the project that will contribute to earning the credit in 3-5 sentences. For Cities and Utilities have in place a (OR) Provide Letter of Commitment to have, DR program with critical peak pricing and rebate mechanism (For minimum 50 % of customers). Details should include the design specification of infrastructure in place to implement the policy effectively.
Streamlined Interconnection and Net Metering Policies (Cities and Utilites - Up to 4 points)
Cities and Utilities
| Project commit to have a interconnection policies for all customer types. | [8 empty] | Select
| Project commit to have a net metering policies for all customer types. | [8 empty] | Select
Describe the strategies included in the project that will contribute to earning the credit in 3-5 sentences. Provide details on steps taken to implement (OR) Provide Letter of Commitment to have, Interconnection and Net metering policies for your consumers.
Other Tools and Financial Incentives (Cities and Utilities -1 Point )
Cities and Utilities
Option 1: Third Party tools and services
| Project commit to install equipment and adopt programs that provide a wide array of third party tools and service choices for all type of customers. | [8 empty] | Select
OR
Option 2 : Market and financial incentives
| Project commit to provide financial incentives for demand side investments for anyone of the customer classes. | [8 empty] | Select
Describe the strategies included in the project that will contribute to earning the credit in 3-5 sentences. For Cities and Utilities provide details on measures taken (OR) Provide letter of Commitment, to have third party tools or to provide financial incentives to customers as part of your policy.
Aggregation (Cities and Utilities- 1 point)
Cities and Utilities
| Project commit to have policies or programs for meter aggregation, physical or virtual. | [8 empty] | Select
Describe the strategies included in the project that will contribute to earning the credit in 3-5 sentences. For Cities and Utilities provide details on the measures taken (OR) Provide letter of Commitment, to have meter aggregation program i.e. physical or virtual. Along with the infrastructure available or being planned.
Innovation Credits
Innovation (Up to 6 points - For all Project types)
Option 1: Innovation (2 Points)
| Achieve significant, measurable energy and environmental performance using a strategy not addressed in the PEER rating system. ● Intent of the proposed innovation credit ● Proposed requirements for compliance ● Proposed submittals to demonstrate compliance ● Design approach or strategies used to meet the requirements. | [8 empty] | Select
AND/OR
Option 2 : Exemplary Performance (3 Points)
Achieve exemplary performance—typically, achieving double the credit requirements (1 point) or the next incremental percentage threshold (1 point per threshold, up to a maximum of 3).
|  |  | RR Credit: Damage and Exposure Prevention | [6 empty] | Select
|  |  | EE Credit: System Energy Efficiency Coefficient Improvement | [6 empty] | Select
|  |  | OP Credit: Risk Assessment and Mitigation | [6 empty] | Select
|  |  | GS Credit: Load Duration Curve Optimization | [6 empty] | Select
AND/OR
Option 3 : PEER Education (1 Point)
| At least one member of the project team or a project consultant must participate in a PEER workshop given by GBCI and/or complete a certification program or course in smart grid technology accredited by an international organization | [8 empty] | Select
Note : Projects cannot double-count points under both Regional Priority and Innovation for the same credit
Describe how the project has achieved exceptional or innovative performance. Project must submit the technical documentation (Design Basis Report) or (Technical specification) of the innovation strategies and also list down the credits attempted through exemplary performance and submit the Certification program / workshop details.
Regional Priority
Regional Priority (Up to 4 points - For all Projects)
Select up to four of the six Regional Priority credits (as listed below for India and United States of America).
Regional Priority Credits for India
One point is awarded for each Regional Priority credit achieved, up to a maximum of four.
|  |  | RR Credit: Reliability Performance Assessment. | [6 empty] | Select
|  |  | RR Credit: Power Quality Capabilities. | [6 empty] | Select
|  |  | EE Credit: Environmental Performance Improvement. | [6 empty] | Select
|  |  | EE Credit: Green Power and Carbon Offset | [6 empty] | Select
|  |  | EE Credit: Distributed Energy Resource. | [6 empty] | Select
|  |  | OP Credit: Advanced Metering Infrastructure. | [6 empty] | Select
OR
Regional Priority Credits for United States
One point is awarded for each Regional Priority credit achieved, up to a maximum of four.
|  |  | RR Credit: Reliability Performance Assessment. | [6 empty] | Select
|  |  | RR Credit: Distribution Redundancy and Auto Restoration. | [6 empty] | Select
|  |  | EE Credit: Environmental Performance Improvement | [6 empty] | Select
|  |  | OP Credit: Risk Assessment and Mitigation | [6 empty] | Select
|  |  | OP Credit: Emergency Response Planning. | [6 empty] | Select
|  |  | GS Credit: Demand Response | [6 empty] | Select
Note : Projects cannot double-count points under both Regional Priority and Innovation for the same credit
Describe how the project has achieved Regional Priority. Provide a narrative on the list of credits attempted for Regional Priority based on your credit achievements.
PEER V2
Copyright ©2020
Green Business Certification Inc.
All rights reserved.

## Uploads
List of Uploads (For GBCI Certification Team Reference)
Sr. No. | Reference | Attached | Notes
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
Note on C4: List references. Include file names for attachments.

## Data (hidden)
|  |  | EE Index Score | Points
Select |  | Select | 30 | 1
New Construction |  | Design development & Conceptual design | 31 | 1
Major Renovation |  | Under construction | 32 | 1
Combination |  | Existing | 33 | 1
|  |  | 34 | 1
|  |  | 35 | 1
Select | Select | Select | 36 | 1
January | 2019 | Campus | 37 | 1
February | 2020 | Cities and Utilities | 38 | 1
March | 2021 | Transit | 39 | 1
April | 2022 |  | 40 | 2
May | 2023 | Select | 41 | 2
June | 2024 | MVA | 42 | 2
July | 2025 | kVA | 43 | 2
August | 2026 |  | 44 | 2
September | 2027 | Select | 45 | 2
October | 2028 | MW | 46 | 2
November | 2029 | kW | 47 | 2
December | 2030 |  | 48 | 2
| 2031 | Select | 49 | 2
| 2032 | MWh | 50 | 3
| 2033 | kWh | 51 | 3
| 2034 |  | 52 | 3
| 2035 | Select | 53 | 3
| 2036 | Yes | 54 | 3
| 2037 | No | 55 | 3
|  |  | 56 | 3
|  | Select | 57 | 3
|  | N/A | 58 | 3
|  | Yes | 59 | 3
|  | No | 60 | 4
|  |  | 61 | 4
|  |  | 62 | 4
|  |  | 63 | 4
|  |  | 64 | 4
|  |  | 65 | 4
|  |  | 66 | 4
|  |  | 67 | 4
|  |  | 68 | 4
|  |  | 69 | 4
|  |  | 70 | 5
|  |  | 71 | 5
|  |  | 72 | 5
|  |  | 73 | 5
|  |  | 74 | 5
|  |  | 75 | 5
|  |  | 76 | 5
|  |  | 77 | 5
|  |  | 78 | 5
|  |  | 79 | 5
|  |  | 80 | 5
|  |  | 81 | 5
|  |  | 82 | 5
|  |  | 83 | 5
|  |  | 84 | 5
|  |  | 85 | 5
|  |  | 86 | 5
|  |  | 87 | 5
|  |  | 88 | 5
|  |  | 89 | 5
|  |  | 90 | 5
|  |  | 91 | 5
|  |  | 92 | 5
|  |  | 93 | 5
|  |  | 94 | 5
|  |  | 95 | 5
|  |  | 96 | 5
|  |  | 97 | 5
|  |  | 98 | 5
|  |  | 99 | 5
|  |  | 100 | 5